**Instrument**

Cryostat

**Model / Number**

CM3050 S

**Manufacturer**

Leica

 **Location**

Life Sciences 250C

**Instrument Description**

Precisely cuts frozen fresh tissues or *Drosophila* at various depths, mounting head is adjustable in both x and y planes, chamber maintains -20C temperature, both pedal drive and hand crank capabilities.

**User Charges**

Not applicable

**User Information**

Users must be trained to use this equipment prior to use. User is responsible for own consumables used with the cryostat. Any damages caused during use which require repair/replacement will be the responsibility of the user.