[image: ]Instrument 
Microbalance 
 
Model / Number 
Cahn C-33 
 
Manufacturer 
Orion supplied by Thermo 
Electron Corporation 
 
Location 
Life Science 250 
 
Instrument Description 
Single pan microbalance. The balance is very stable, does not require temperature controlled environment and is situated on a balance table work station. Specifications: Capacity 250mg; Precision 1µg; Weigh range 200mg; Readability 1µg; Reproducibility 1µg; Linearity 1µg; Response time 10 seconds; Tare Range 250mg; Pan size up to 60mm; Output RS232. Calibration weight, gloves, and tweezers on work station. 
 
User Charges 
Not applicable 
 
User Information 
User must have key card access to Life Science 250. User must be trained to use this equipment. The user is responsible for cleaning and performing any per use maintenance and providing any disposable supplies required for operation. Any damage caused by the user is the responsibility of the user to repair or replace.  
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